CLIMATE MITIGATION STATEMENT

This document to be read in conjunction with the application drawings.

RAINWATER HARVESTING

2 no.new water butts will be installed connected to the existing rainwater downpipes and underground drains, as shown on the attached marked up Block Plan.

The water butts will be 210L capacity (270mm dia.) water butt to collect harvested rainwater from rainwater gutter.